## Slide 1: Shuttling and filtering multiple ion species in segmented linear trap

## Slide 2: Mg+ and He+ ion shuttling
Video file by T. W. Hänsch courtesy T. Udem

## Slide 3: Segmented trap
Electrode assembly with tank circuit sketch
Figures from J. Robin Master’s thesis [1]
Simulated axial potential for different DC voltages on neighboring electrodes
Electron gun for He ionization
Helical resonator: Q =

## Slide 4: Possible Schemes
RF Filtering
Shuffling with DC potentials
Mass filter
Dual frequency
Combination of techniques

## Slide 5: Well depth of linear quadrupole trap with 2 grounded electrodes
Mathieu parameters:
Secular frequency, from solution to Mathieu equation for stable region :
Harmonic pseudopotential approximation:
Energy depth at rods for , :

## Slide 6: RF Filtering (1 of 3)
Lighter ions experience a deeper well, but also have higher q value:
Scheme framework:
  Lower trap depth on central segment
  “Tilt” axial potential by adjusting DC potential on boundary segments
  Ions “slide” into altered trapping region.
  Lighter ions remain trapped, but heavier ions are lost in shallower trap.
for He+
for Mg+
Pseudopotential
With filtering region

## Slide 7: RF Filtering (2 of 3)
Is trap depth meaningful for crystalized ions?
  Observed: Sympathetically cooled ions (e.g. He+) occupy deeper positions in condensed ion crystal, but hotter ions of same species remain hot, outside condensed crystal due to higher RF heating [5].
  If heavier, directly-cooled ions (e.g. Mg+) are filtered prematurely sympathetic cooling mechanism would be lost.
  What are dynamics of ion crystal phase transitions? How does well depth effect melting of crystal/chaotic dissociation?

## Slide 8: RF Filtering (3 of 3)
Comparison to q-scan:
  Offset voltage () or other perturbing field are necessary for filtering different masses. [6]
  Lowering lowers depth for all ion masses
    Heavy and light ions will prefer to remain in shallower region.
  Heavier ions may contribute to heating ion crystal before falling out of trap.
Secular excitation of heavy ion.
  Excitation of directly-cooled species will heat the sympathetically cooled ions
  Can excitation strategy be optimized to expel one species without significant energy transfer? Explore paper on fast ion shuttling in segmented micro-trap.

## Slide 9: DC Selection
Create long, somewhat uniform well with linear ion chain.
One side has high potential for pushing chain. Other end has very short “brim”, just high enough to contain ion chain.
Pushing potential is increased just enough to push last ion over brim into next region.
Separated ion(s) can now be targeted or shuttled to other segments.
Axial confinement by fringe effects of finite electrodes.

## Slide 10: Mass Filter

## Slide 11: References
[1] J. Robin, Mater’s thesis, Ludwig-Maximilians-Universität, Munich, Germany (2012).
[2] F. G. Major, V. N. Gheorghe and G. Werth, Charged particle traps (Springer, Berlin; New York, 2005).
[3] P. K. Ghosh, Ion traps. (Oxford University Press, New York, 1995).
[4] R. Blatt, P. Zoller, G. Holzmüller and I. Siemers, “Brownian motion of a parametric oscillator: A model for ion confinement in radio frequency traps,” Z. Physik D. 4 (2), 121-126 (1986).
[5] F. Zhu, Ph.D. thesis, Texas A&M University, College Station, Texas (2010).
[6] X. Zhao, Ph.D. thesis, Texas A&M University, College Station, Texas (2001).

## Slide 12: Well depth of linear quadrupole trap with 2 grounded electrodes
Mathieu parameters: ,
Secular frequency, from solution to Mathieu equation for stable region :
Harmonic pseudopotential approximation:
Energy depth at rods,

## Slide 13: Ion velocities/temperature
Ion clouds modeled as parametric oscillators with stochastic fluctuations produce near-Gaussian spatial distributions and the following average-velocity distribution for small q [2][4]:
For a Mg+ ion chain cooled to (, [5], this formula wouldn’t apply directly without presence of space charge potential of surrounding ion cloud, etc. However, estimates with this or basic HO pseudopotential all return orbit radii .
Notes: For a Mg+ ion chain at 50mK in a 4-rod symmetric trap (, it would be .
Various references contain trajectories of ions in a trap, but I found none with an assigned temperature or other context, like cooled ions in a chain on the trap axis with given trapping parameters.
For a Mg+ ion chain at 50mK in a 4-rod symmetric trap (𝑈_𝑅𝐹=100𝑉,𝑟_0=2.605𝑚𝑚, Ω=7.48𝑀𝐻𝑧), it would be <1𝜇𝑚.
Various references contain trajectories of ions in a trap, but I found none with an assigned temperature or other context, like cooled ions in a chain on the trap axis with given trapping parameters.